## Norris_LINEST_Check
NIST StRD Norris (linear regression, lower level of difficulty), 36 observations
y (response) | x (predictor) | Statistic | Excel function | Value computed by YOUR Excel | NIST certified value | LRE (correct significant digits, max 15)
0.1 | 0.2 | Slope B1 | LINEST | 1.0021 | 1.0021 | 14.424
338.8 | 337.4 | Intercept B0 | LINEST | -0.26232 | -0.26232 | 12.0864
118.1 | 118.2 | Std. dev. of B1 | LINEST | 0.0004298 | 0.0004298 | 13.4036
888 | 884.6 | Std. dev. of B0 | LINEST | 0.23282 | 0.23282 | 13.3784
9.2 | 10.1 | Residual standard deviation | LINEST | 0.8848 | 0.8848 | 13.4059
228.1 | 226.5 | R-squared | LINEST | 0.99999 | 0.99999 | 15
668.5 | 666.3 | Slope B1 | SLOPE | 1.0021 | 1.0021 | 14.3757
998.5 | 996.3 | Intercept B0 | INTERCEPT | -0.26232 | -0.26232 | 12.7708
449.1 | 448.6 | Residual standard deviation | STEYX | 0.8848 | 0.8848 | 11.6892
778.9 | 777 | R-squared | RSQ | 0.99999 | 0.99999 | 15
559.2 | 558.2
0.3 | 0.4
0.1 | 0.6 | Excel's display camouflage (for reference)
778.1 | 775.5 | 0 |  | 0
668.8 | 666.9 | 1.7764e-15 |  | 1.7764e-15
339.3 | 338
448.9 | 447.5 | Source: NIST Statistical Reference Datasets, Norris (https://www.itl.nist.gov/div898/strd/lls/data/Norris.shtml). LRE = -log10(¦x - c¦ / ¦c¦), capped at 15 (certified values carry 15 significant digits).
10.8 | 11.6 | Why 1*( ) inside ABS: Excel sets the result of a final subtraction that is very close to zero to exactly zero; making the subtraction a non-final operation shows the true difference.
557.7 | 556 | Why 1*( ) and not a plain F=G test: Excel compares numbers to about 15 significant digits, so a plain equality test would report agreement for values that differ in the last binary digits. LRE needs the true difference.
228.3 | 228.1
998 | 995.8
888.8 | 887.6
119.6 | 120.2
0.3 | 0.3
0.6 | 0.3
557.6 | 556.8
339.3 | 339.1
888 | 887.2
998.5 | 999
778.9 | 779
10.2 | 11.1
117.6 | 118.3
228.9 | 229.2
668.4 | 669.1
449.2 | 448.9
0.2 | 0.5

## Read_me
NormXL - NIST Norris LINEST check workbook (free)
What it is: the 36 certified observations of the NIST StRD Norris dataset (a NIST ozone-monitor calibration study), the regression functions your laboratory uses, NIST's certified values and the Log Relative Error (LRE) of your own Excel installation.
How to use it: open the file in your Excel. The LRE column shows how many significant digits your installation shares with the certified values. Record the Excel build (File > Account > About Excel) next to the result if you file it as evidence.
What it is not: a validation of your own calibration workbook. It measures your Excel installation on one well-conditioned dataset. Your formulas, ranges, decision rules and protection still need validating (ISO/IEC 17025:2017 Clause 7.11.2 and 7.11.6).
No macros, no external links, no data connections. NormXL is independent and is not affiliated with NIST or Microsoft. Excel is a trademark of the Microsoft group of companies.